CATEGORY 400

STRUCTURES

SECTION 435 — Cleaning and Painting New Structural Steel

435.03 CONSTRUCTION

435.03.18 Shop Application of Prime Coat.

ADD:  The following after the last paragraph.

Primer used for areas designated as slip critical shall have been tested and approved for Slip B by an AASHTO National Transportation Product Evaluation Program (NEPEP) approved independent testing laboratory according to the Research Council on Structural Connections’ “Specification for Structural Joints Using High-Strength Bolts.”  Provide certification for all thinners used in the primer.