SWM FACILITY AS-BUILT CERTIFICATION DATA TABLE
FOR M-7 RAIN GARDEN
MAY ONLY BE CERTIFIED BY THE AS-BUILT ENGINEER (ABE) PER COMAR 26.17.02.10.

| SWM FACILITY NUMBER 000000 | PRD NUMBER 00-PR-0000 | SHA CONTRACT NUMBER XX0005000 |
| --- | --- | --- |

| ACTIVITY | ADDITIONAL SUPPORTING DOCUMENTATION |  |  |  | DATE(S) OF INSPECTION |
| --- | --- | --- | --- | --- | --- |
|  | (SUBMIT ALL OF THE FOLLOWING WITH SWM FACILITY AS-BUILT CERTIFICATION PACKAGE.) |  |  |  |  |
| PRIOR TO SWM FACILITY EXCAVATION, OBSERVED ESC MEASURES ARE INSTALLED AROUND THE SWM FACILITY OR CONFIRMED SURROUNDING AREA IS STABILIZED | INSPECTION REPORT PHOTOGRAPHS |  |  |  |  |
| OBSERVED EXCAVATION OF SWM FACILITY | INSPECTION REPORT PHOTOGRAPHS |  |  |  |  |
| OBSERVED INSTALLATION OF GEOTEXTILE AND VERIFIED INSTALLATION PERFORMED AS SPECIFIED | INSPECTION REPORT PHOTOGRAPHS |  |  |  |  |
| OBSERVED INSTALLATION OF OBSERVATION WELL, VERIFIED MATERIAL, HAS SLOTTED PERFORATIONS, AND OBSERVED USE OF GEOTEXTILE SOCK | INSPECTION REPORT PHOTOGRAPHS PIPE MATERIAL: PPWP CPP-S GEOTEXTILE SOCK |  |  |  |  |
| OBSERVED INSTALLATION OF BIORETENTION SOIL MIX (BSM) AND VERIFIED MATERIAL IS APPROVED | INSPECTION REPORT PHOTOGRAPHS SHA OMT SOIL TEST REPORT FOR BSM |  |  |  |  |
| OBSERVED FINAL GRADING OF SWM FACILITY | INSPECTION REPORT PHOTOGRAPHS |  |  |  |  |
| OBSERVED INSTALLATION OF RELEASE STRUCTURE | INSPECTION REPORT PHOTOGRAPHS RELEASE STRUCTURE: INLET WEIR CHECK DAM OUTFALL NOT APPLICABLE OTHER (WRITE IN):_____________________________ |  |  |  |  |
| OBSERVED INSTALLATION OF SPECIFIED VEGETATION AND OBSERVED HARDWOOD BARK MULCH PLACEMENT IN SWM FACILITY. VERIFIED LOCATIONS AND SPECIES INSTALLED IN SWM FACILITY. | INSPECTION REPORT PHOTOGRAPHS AS-BUILT LANDSCAPE PLANS |  |  |  |  |
| OBSERVED ESTABLISHED VEGETATION ONE YEAR FOLLOWING INITIAL INSTALLATION IN SWM FACILITY AND OBSERVED REPLACEMENT OF FAILED VEGETATION. | INSPECTION REPORT PHOTOGRAPHS SHA LPD LANDSCAPE ACCEPTANCE LETTER(S) |  |  |  |  |
| FEATURE |  | DESIGN | AS-BUILT | DIFFERENCE |  |
| BOTTOM WIDTH (FT) |  |  |  |  |  |
| BOTTOM LENGTH (FT) |  |  |  |  |  |
| INTERIOR EMBANKMENT SLOPE (H:V) – MAY NOT BE STEEPER THAN 3:1 |  |  |  |  |  |
| EXTERIOR EMBANKMENT SLOPE (H:V) – MAY NOT BE STEEPER THAN 3:1 |  |  |  |  |  |
| OBSERVATION WELL PIPE DIAMETER (IN.) – MAY NOT DIFFER FROM VALUE SPECIFIED |  | 6 |  |  |  |
| THICKNESS OF BSM (IN.) – MAY NOT BE LESS THAN 24 IN. |  | 24 |  |  |  |
| THICKNESS OF SHREDDED HARDWOOD BARK MULCH (IN.) – MAY NOT DIFFER FROM VALUE SPECIFIED |  | 3 |  |  |  |
| ONLY COMPLETE THE PORTION BELOW WHEN TOLERANCES ARE NOT MET. ALSO PROVIDE COMPUTATIONS AND SWM REPORT REVISIONS. |  |  |  |  |  |
| FEATURE |  | DESIGN | AS-BUILT | DIFFERENCE |  |
| ESDv WATER SURFACE ELEVATION (FT) |  |  |  |  |  |
| ESDv PONDING DEPTH (IN.) – MAY NOT EXCEED 12 IN. |  |  |  |  |  |
| 2-YR WATER SURFACE ELEVATION (FT) |  |  |  |  |  |
| 10-YR WATER SURFACE ELEVATION (FT) |  |  |  |  |  |
| FREEBOARD (IN.) – MEASURED VERTICALLY FROM WATER SURFACE ELEVATION TO TOP OF EMBANKMENT OR PAVEMENT EDGE/SHOULDER – MAY NOT BE LESS THAN 9 IN. FOR THE 10-YR STORM WHEN VALUE MUST BE MEASURED TO THE PAVEMENT EDGE/SHOULDER |  | 9 |  |  |  |
| 100-YR WATER SURFACE ELEVATION (FT) |  |  |  |  |  |

REVISED 10/27/2021