SWM FACILITY AS-BUILT CERTIFICATION DATA TABLE
FOR DRY EXTENDED DETENTION POND
MAY ONLY BE COMPLETED BY THE AS-BUILT ENGINEER (ABE) AS REQUIRED BY COMAR 26.17.02.10.

| SWM FACILITY NUMBER 000000 | PRD NUMBER 00-PR-0000 MDE NUMBER FOR 378 00-SF-0000 | SHA CONTRACT NUMBER XX0005000 |
| --- | --- | --- |

| ACTIVITY | ADDITIONAL SUPPORTING DOCUMENTATION |  |  |  | DATE(S) OF INSPECTION |
| --- | --- | --- | --- | --- | --- |
|  | (SUBMIT ALL OF THE FOLLOWING WITH SWM FACILITY AS-BUILT CERTIFICATION PACKAGE.) |  |  |  |  |
| CONFIRMED SWM FACILITY STAKEOUT AND OBSERVED SWM FACILITY EXCAVATION. | INSPECTION REPORT PHOTOGRAPHS |  |  |  |  |
| OBSERVED EXCAVATION OF INITIAL AND ROUGH GRADING OF FACILITY INCLUDING WHEN USED FOR A SEDIMENT BASIN. | INSPECTION REPORT PHOTOGRAPHS |  |  |  |  |
| WHEN A LINER IS SPECIFIED, OBSERVED INSTALLATION OF LINER. | INSPECTION REPORT PHOTOGRAPHS LINER MANUFACTURER SPECIFICATIONS OMT MATERIAL APPROVAL FORM(S) NOT APPLICABLE |  |  |  |  |
| OBSERVED CONVERSION FROM SEDIMENT BASIN TO SWM FACILITY AND FINAL GRADING OF SWM FACILITY. | INSPECTION REPORT PHOTOGRAPHS |  |  |  |  |
| OBSERVED CONSTRUCTION OF EMBANKMENT, CORE TRENCH, AND CLAY CORE. | PHOTOGRAPHS INSPECTION REPORT OMT MATERIAL APPROVAL FORM(S) FOR CLAY AND EMBANKMENT FOR SWM FACILITIES COMPACTION TEST RESULTS CONSTRUCTION INSPECTION CERTIFICATION CHECKLIST FOR CODE 378 EMBANKMENTS GEOTECHNICAL CERTIFICATION CODE 378 POND GEOTECHNICAL REPORT DAM INSPECTION CHECKLIST (IF POND IS CONSTRUCTED MORE THAN THREE YEARS PRIOR TO AS-BUILT CERTIFICATION PACKAGE SUBMISSION) DAM BREACH ANALYSIS (IF POND WAS APPROVED MORE THAN 10 YEARS PRIOR TO AS-BUILT CERTIFICATION PACKAGE SUBMISSION) POND SUMMARY SHEET |  |  |  |  |
| OBSERVED INSTALLATION OF FILTER DIAPHRAGM. | PHOTOGRAPHS INSPECTION REPORT OMT MATERIAL APPROVAL FORM(S) SLOTTED PERFORATION PIPE MANUFACTURER SPECIFICATIONS |  |  |  |  |
| OBSERVED INSTALLATION OF RELEASE STRUCTURE AND OUTLET PIPE, INCLUDING OUTLET RIPRAP WHEN RISER IS SPECIFIED. | INSPECTION REPORT PHOTOGRAPHS MDE 378 AS-BUILT EMBANKMENT CHECKLIST RELEASE STRUCTURE: WEIR RISER |  |  |  |  |
| OBSERVED INSTALLATION OF EMERGENCY SPILLWAY. | INSPECTION REPORT PHOTOGRAPHS NOT APPLICABLE |  |  |  |  |
| OBSERVED CONSTRUCTION OF MAINTENANCE ACCESS ROAD. | PHOTOGRAPHS INSPECTION REPORT |  |  |  |  |
| OBSERVED INSTALLATION OF SPECIFIED VEGETATION. OBSERVED AND VERIFIED INSTALLATION OF LOCATIONS, SPECIES, AND QUANTITIES SPECIFIED. | INSPECTION REPORT PHOTOGRAPHS AS-BUILT LANDSCAPE PLANS |  |  |  |  |
| OBSERVED ESTABLISHED VEGETATION ONE YEAR FOLLOWING INITIAL INSTALLATION IN SWM FACILITY AND OBSERVED REPLACEMENT OF FAILED VEGETATION. | INSPECTION REPORT PHOTOGRAPHS SHA LPD LANDSCAPE ACCEPTANCE LETTER(S) |  |  |  |  |
| FEATURE |  | DESIGN | AS-BUILT | DIFFERENCE |  |
| OVERALL FOOTPRINT BOTTOM WIDTH (FT) |  |  |  |  |  |
| OVERALL FOOTPRINT BOTTOM LENGTH (FT) |  |  |  |  |  |
| INSIDE SIDE SLOPE (H:V) – MAY NOT BE STEEPER THAN 3:1 |  |  |  |  |  |
| EMBANKMENT TOP WIDTH (FT) |  |  |  |  |  |
| OUTER EMBANKMENT SIDE SLOPE (H:V) – MAY NOT BE STEEPER THAN 3:1 |  |  |  |  |  |
| CUT OFF TRENCH BOTTOM ELEVATION (FT) – MAY NOT BE HIGHER THAN DESIGNED |  |  |  |  |  |
| CLAY CORE TOP ELEVATION (FT) – MAY NOT BE LOWER THAN DESIGNED |  |  |  |  |  |
| CLAY CORE MAXIMUM WIDTH (FT) – MAY NOT BE LESS THAN DESIGNED |  |  |  |  |  |
| EMERGENCY SPILLWAY TOP ELEVATION (FT) |  |  |  |  |  |
| ONLY COMPLETE THE PORTION BELOW WHEN TOLERANCES ARE NOT MET. ALSO PROVIDE COMPUTATIONS AND SWM REPORT REVISIONS. |  |  |  |  |  |
| FEATURE |  | DESIGN | AS-BUILT | DIFFERENCE |  |
| Cpv WATER SURFACE ELEVATION (FT) |  |  |  |  |  |
| Cpv STORAGE VOLUME (CU FT) |  |  |  |  |  |
| 2-YR WATER SURFACE ELEVATION (FT) |  |  |  |  |  |
| 2-YR STORAGE VOLUME (CU FT) |  |  |  |  |  |
| 10-YR WATER SURFACE ELEVATION (FT) |  |  |  |  |  |
| 10-YR STORAGE VOLUME (CU FT) |  |  |  |  |  |
| 100-YR WATER SURFACE ELEVATION (FT) |  |  |  |  |  |
| 100-YR STORAGE VOLUME (CU FT) |  |  |  |  |  |
| 100-YR FREEBOARD (IN.) – MAY NOT BE LESS THAN DESIGNED |  |  |  |  |  |

REVISED 10/25/2021